International Journal of PharmTech Research

CODEN (USA): IJPRIF        ISSN : 0974-4304

Vol.4, No.2, pp 828-834,       April-June 2012

Validated Spectrophotometric Methods for the Simultaneous Estimation of Domperidone and Lansoprazole in Bulk Drug and Pharmaceutical Formulation

Anil Kumar S.M, Nagraj Javar Gowda*, Siddalinga Swamy M.S.

Department of pharmaceutical Analysis, National College of Pharmacy, Balraj Urs Road, Shimog (District), Karnataka, India-500201.

*Corres. author: anil_manchi@rediffmail.com

Cell: 9964651920

Abstract: Two simple spectrophotometric methods have been developed for simultaneous determination of Domperidone and Lansoprazole in bulk and combined pharmaceutical dosage forms. methanolic sodium hydroxide (70:30) was used as solvent. Method I simultaneous equation method involves measurement of absorbances at two wavelengths 287 nm (λ max of Domperidone) and 294 nm (λ max of Lansoprazole) and Method II first derivative Zero-crossing involves measurement of amplitudes of first derivative spectra of the binary mixtures containing Domperidone and Lansoprazole at 294 nm (zero crossing of Lansoprazole) for the determination Domperidone and at 287 nm (zero crossing of Domperidone) for the determination of Lansoprazole respectively. The linearity lies between 4-36 µg/ml for Domperidone and 2-18 µg/ml for Lansoprazole for both the two methods. The accuracy and precision of the methods were determined and validated statistically. Both the methods showed good reproducibility and recovery with %RSD less than 2. Both the methods were found to be rapid, specific, precise and accurate and can be successfully applied for the routine analysis Domperidone and Lansoprazole in bulk and combined pharmaceutical dosage form.

Keywords: Domperidone.  Lansoprazole, Simultaneous equation, First derivative zero-crossing method, Method validation.

- INTRODUCTION1,2,3,4

Domperidone (6-chloro-3-[1-[3-(2-oxo-3H-benzimidazol-1-yl)propyl]piperidin-4-yl]-1H-benzimidazol-2-one) is an antidopaminergic drug (Fig.1), developed by Janssen Pharmaceutica, and used orally, rectally or intravenously, generally to suppress nausea and vomiting. It has also been used to stimulate lactation and found effective in the treatment of gastroparesis, a stomach motility condition, and for pediatric Gastro esophageal reflux.

Lansoprazole (2-[[3-methyl-4-(2,2,2-trifluoroethoxy) pyridin-2-yl]methylsulfinyl]-1H-benzimidazole) is a proton pump inhibitor (Fig.2), which prevents the stomach from producing acid. It is used for the treatment of ulcers of the stomach, duodenum, and NSAID-induced ulcers and gastro esophageal reflux disease (GERD). The combination of Lansoprazole and Domperidone is very useful in gastro-esophagus dysfunctions like functional dyspepsia.

Figure. 1- Chemical structure of Domperidone

Figure. 2 -Chemical structure of Lansoprazole

On literature survey it was found that Domperidone and Lansoprazole can be estimated independently or in combination with the other drugs by several methods. One HPTLC method has been reported for Domperidone with Rabeprazole5, and many HPLC methods have been reported for Domperidone with Rabeprazole6, Pantaprazole7,8, Omeprazole9 and Paracetamol10.

Since no spectrophotometric method is reported for the simultaneous estimation of Domperidone (DOMP) and Lansoprazole (LANS) in combination therefore in the present work a succesful attempt has been made to estimate both these drugs simultaneously by two simple UVspectrophotometric methods (Simultaneous equation method and First derivative zero crossing method).

- MATERIALS AND METHODS

2.1 Apparatus

Shimadzu UV-1601 double beam spectrophotometer connected to a computer loaded with Shimadzu UV Probe 2.10 software was used for all the spectrophotometric measurements. The spectral band width was 1 nm and the wavelength scanning speed was 2800 nm min-1. The absorbance spectra of the reference and test solutions were carried out in 1cm quartz cells over the range of 201-350 nm.

2.2 Reagents and solutions

Pure drug samples of Domperidone and Lansoprazole were kindly gifted by Microlabs, Bangalore. Certified to contain 99.6% and 99.8% purity respectively. The drugs were used without further purification. All the solvents used in analysis were of spectroscopic grade. Lanspro-D Capsules (label claim 30mg LANS and 30mg DOMP). Batch No. LPD-8002 B of Indchemie, Health Specialties Pvt, Ltd. was used for analysis.

2.3 Methanolic Sodium Hydroxide

To 300ml of 0.1N sodium hydroxide solution, 700ml of methanol was added to get methanolic sodium hydroxide (70:30).

2.4 Standard solutions of Domperidone and Lansoprazole

Accurately weighed 25mg of Domperidone and Lansoprazole separately, and it was transferred into clean, dry 25ml volumetric flasks. This gave the concentration of 1000µg ml-1. From this 4ml of Domperidone solution was pipetted out in to 50ml volumetric flask and the volume was made up to the mark by methanolic sodium hydroxide solution. This gave 80µg ml-1 of drug concentration. In the same way 2ml of the Lansoprazole solution was pipetted out into 50ml volumetric flask and the volume was made up to the mark with the same solvent. This gave 40µg ml-1 drug concentration.

2.5 Calibration sets for simultaneous equation and first derivative zero-crossing methods

A calibration set containing nine dilutions each of DOMP (4-36 µg ml-1) and LANS (2-18 µg ml-1) was prepared in methanolic sodium hydroxide and UV spectra were recorded in the wavelength range of 200-350 nm versus solvent blank.

2.6 Pharmaceutical Sample solution

Twenty Lanspro-D capsules were weighed accurately. An amount of the powder equivalent to content of one unit of capsule was triturated and dissolved separately in 60 ml methanol: 0.1N sodium hydroxide (70:30 v/v). The solution was sonicated for 10 min and filtered into a 100ml volumetric flask through 0.45µ nylon membrane filter. The residue was washed 3 times with 10 ml of methanol: 0.1N sodium hydroxide (70:30 v/v) and then the volume was completed to 100 ml with the same solvent. This solution was diluted to 1:10 with methanol: 0.1N sodium hydroxide (70:30 v/v) and again this solution was further diluted to 2:10 with the same solvent.  The proposed methods were applied and the concentration of each component in the formulation was determined.

2.7 Simultaneous equation method (Method I):

In the simultaneous equation method, the absorbance signals were measured at 287 nm (λ max of Domperidone) and 294 nm (λ max of Lansoprazole). Concentration of each drug was obtained by using the absorptivity values calculated for both the drugs at these two wavelengths. A calibration set containing nine dilutions each of DOMP (4-36µg ml-1) and LANS (2-18µg ml-1) was prepared in methanol:0.1N sodium hydroxide (70:30) and UV spectra were recorded in the wavelength range 200-350 nm versus solvent blank. The overlay absorption spectra of standard solutions DOMP and LANS are shown in the Fig.3

Absorbencies of the above standard solutions of DOMP and LANS were measured at two wavelengths 287 and 294nm, to get the absorptivity values at both wavelengths for both the drugs from the equation:

E=AbC∗10000

Table 1. Composition of DOMP and LANS in preparation of Binary mixture

| Mixture No. | Concentration (µg ml-1) |  |
| --- | --- | --- |
|  | DOMP | LANSO |
| 1 | 4 | 2 |
| 2 | 8 | 2 |
| 3 | 16 | 2 |
| 4 | 24 | 2 |
| 5 | 36 | 2 |
| 6 | 4 | 4 |
| 7 | 8 | 4 |
| 8 | 16 | 4 |
| 9 | 24 | 4 |
| 10 | 36 | 4 |
| 11 | 4 | 8 |
| 12 | 8 | 8 |
| 13 | 16 | 8 |
| 14 | 24 | 8 |
| 15 | 36 | 8 |
| 16 | 4 | 12 |
| 17 | 8 | 12 |
| 18 | 16 | 12 |
| 19 | 24 | 12 |
| 20 | 36 | 12 |
| 21 | 4 | 18 |
| 22 | 8 | 18 |
| 23 | 16 | 18 |
| 24 | 24 | 18 |
| 25 | 36 | 18 |

Absorbance unit cm-1 gm 100 ml-1

E = Absorptivity value, A = Absorbance, b = Path length of quartz cell (1 cm),

C = concentration in µg ml-1

Binary mixture solutions for prediction of DOMP and LANS were prepared as shown in Table 1.

Absorbencies of binary mixture solutions were measured at 287 and 294nm. The concentration of each component of the binary mixture was calculated by using simultaneous equation.

Cx = concentration of x,

Amn= Absorbance of Sample solution at ‘n’ nm,

Exn = Absorptivity of x at ‘n’ nm,

The absorptivity values ± SD at 287 and 294nm for both the drugs were:

EDOMP 287 = 269.027 ± 1.351

EDOMP294 = 239.27 ± 6.4195

ELANS287 = 475.911 ± 1.1535

ELANS294 = 551.55 ± 10.252

2.8 First derivative zero crossing method (Method II): In this method the amplitudes of first derivative spectra of the binary mixtures containing DOMP and LANS were measured at 294nm (zero crossing of LANS) for the determination DOMP and at 287nm (zero crossing of DOMP) for the determination of LANS respectively. The linearity ranges for DOMP and LANS were found to be   4 – 36 and 2 – 18µg ml-1 respectively. A calibration set of nine dilutions each of DOMP (4-36 µg ml-1) and LANS (2-18µg ml-1) in methanol: 0.1N sodium hydroxide (70:30 v/v) was prepared and UV spectra were recorded and converted the same to first derivative spectra in a wavelength of range 200-350nm versus solvent blank. The first derivative overlay spectra of standard solutions of DOMP and LANS are shown in the Fig.4.

Table 2.  Results of Intra and Inter Day Precision

| Parameters | % RSD of Intra Day Precision |  | % RSD of Inter Day Precision |  |
| --- | --- | --- | --- | --- |
|  | DOMP | LANS | DOMP | LANS |
| Method I | 0.8379 | 1.1103 | 1.1516 | 1.1066 |
| Method II | 0.7159 | 1.1712 | 0.4164 | 0.9952 |

Fig.3 Zero-order absorption spectra for DOMP and LANS, ‘a’ represents DOMP showing λ max at 287nm and ‘b’ represents LANS showing λ max at 294nm.

Fig. 4 Overlay first derivative absorption spectra of standard dilutions of DOMP and LANS, ‘a ‘represents the zero crossing of DOMP at 287nm and ‘b’ represents the zero crossing of LANS at 294nm

Fig. 5 Calibration curve for determination of DOMP at 289nm.(Method I)

Fig.6 Calibration curve for determination of LANS at 294nm. (Method I)

Fig. 7 Calibration curve for determination of DOMP (Method II)

Fig. 8 Calibration curve for determination of LANS (Method II)

Table 3. Data of recovery studies

| Level of % recovery | Mean Recovery* | Standard Deviation* |
| --- | --- | --- |
| 80% | 99.45% | 0.5851 |
| 100% | 99.91% | 0.5204 |
| 120% | 99.69% | 0.6928 |
| 80% | 99.51% | 0.4490 |
| 100% | 99.95% | 0.4821 |
| 120% | 99.69% | 0.6943 |

3. RESULTS AND DISCUSSION

3.1. LINEARITY AND RANGE:

Under the experimental conditions described, the graph obtained for simultaneous equation method (Method I) and derivative zero crossing method (Method II) showed linear relationship. Regression analysis was made for both the methods, in which for method I correlation co-efficient, slope and intercept was found to be  0.9989, 0.0257, 0.0224 for DOMP and 0.9989, 0.0522 , 0.0182 for LANS respectively as shown in Fig. 5 and 6. For method II correlation co-efficient, slope and intercept was found to be 0.9984, 0.0258, 0.0219 for DOMP and 0.999, 0.1606, 0.0285 for LANS respectively as shown in Fig.7 and 8.

3.2 PRECISION:

Intra day and inter day precision for determination of DOMP and LANS by proposed methods were evaluated in terms of % RSD. The binary mixtures of DOMP and LANS at five levels within their linearity range were prepared and experiment was repeated three times (repeatability) and in three different days (intermediate precision).The average % RSD values for determination of DOMP and LANS were calculated as shown in Table 2. Which showed determination of DOMP and LANS were more precise by the proposed methods.

3.3. ACCURACY:

The interference of excipients in capsules for two drugs was tested for the application of proposed methods to commercial formulation. The study was performed by increasing standard addition of known amounts of studied drugs to an unknown concentration (constant volume) of the commercial pharmaceutical formulation (Standard addition access the effect of a sample matrix changes the analytical sensitivity of the method). A constant volume of the unknown solution was added to each of six 10ml volumetric flasks. Then a series of increasing volumes of working standard solutions were added. Finally, each flask was made up to the mark with solvent and mixed well. The concentration of the working standard solutions added should be chosen to increase the concentration of the unknown by minimum 30% in each succeeding flask. The resulting mixtures were analyzed and recoveries were determined. The results obtained are compared with expected results. The excellent mean recoveries and standard deviation (Table 3 and 4) suggested good accuracy of the proposed method and no interference from formulation excipients.

3.4 SENSITIVITY:

The limit of detection (LOD) and limit of quantification (LOQ) were calculated by using the equations LOD = 3 x σ / S and LOQ = 10 x σ /S, where σ is the standard deviation of intercept, S is the slope. . The values of LOD and LOQ are given in Table 5.

3.5. ANALYSIS OF THE MARKETED FORMULATION:

Applicability of the methods were tested by analyzing the commercially available formulation containing the binary mixture of DOMP and LANS. The values of % recovery from the formulation as shown in the Table 6 were found to be very close to the label value of commercial pharmaceutical formulation, which showed that the methods were applicable for simultaneous determination of DOMP and LANS from their binary mixture formulation. The summary of the validation parameters is depicted in Table 7.

4. CONCLUSION

The proposed spectrophotometric methods enable the quantitation of mixture DOMP and LANS even in the presence of different excipients, with good accuracy and precision, either in laboratory prepared samples or in spiked pharmaceutical dosage form in the linearity range of 4-18µgml-1. Finally it was concluded that the short analysis time and low costs were the main advantages of this spectrophotometric methods for the determination of DOMP in combination with LANS in routine analysis. High percentage recovery showed that the methods were free from interferences from the excipients and additives commonly used in the formulations of the drugs.

5. ACKNOWLEDGEMENT:

The authors are highly thankful to the PES College of Pharmacy and Principal, PES College of Pharmacy, Bangalore for proving all the facilities to carry out the research work.

REFERENCES

1. 	Indian pharmacopoeia,1996; 2, A-169.

2. 	Indian pharmacopoeia, 1996; 1,181.

3. 	www.drugbank.com.

4. 	www.wikipedia.com.

5. 	Patel BH, Suhagia BN, Patel MM, Patel JR.have Developed a method for the HPTLC determination of rabeprazole and domperidone in capsules and its validation. J Chromatogr Sci., 2008; 46(4):304-7.

## 6.	PATEL Bhavesh H, PATEL Madhabhai M, PATEL Jignesh R, SUHAGIA Bhanubhai N.  did the HPLC analysis for simultaneous determination of rabeprazole and domperidone in pharmaceutical formulation .J: of liquid chromatography, 2007; 30:439-445.

7. PATEL Bhavesh H.  SUHAGIA Bhanubhai N.  PATEL Madhabhai M, PATEL Jignesh R. developed a method for  Simultaneous estimation of pantoprazole and domperidone in pure powder and a pharmaceutical formulation by high-perfomance liquid chromatography and high-performance thin-layer chromatography methods.J of AOAC,2007;90:142-146.

8. 	Thanikachalam SR, M. Kannappan, V. Stability-Indicating HPLC Method for Simultaneous Determination of Pantoprazole and Domperidone from their Combination Drug Product CHROMATOGRAPHIA -WIESBADEN-. 2008; 67 (1-2):41-7 .

9. 	Lakshmi Sivasubramanian VA. Simultaneous HPLC estimation of omeprazole and domperidone from tablets. Indian journal of pharmaceutical sciences. 2007;69( 5 ):674-6.

10.	A Karthik GS, A Ranjith Kumar, N Udupa. Simultaneous estimation of paracetamol and domperidone in tablets by reverse phase HPLC method. Indian Journal of Pharmaceutical Sciences. 2007; 69(1): 142-4.

*****